## Sheet1
Category | Quantity | Description | Manufacturer | Model No.
Devices
| 1 | Arduino MEGA 2560 | Arduino | A000067
| 2 | Adafruit Motor/Stepper/Servo Shield for Arduino v2 Kit - v2.3 | Adafruit | 1438
| 1 | Absolute Position Rotary Encoder 4096PPR/12BIT | CUI Devices | AMT203-V
| 1 | NEMA17 Stepper Motor 2 phase, 1.8° | MOONS' | MS17HD6P4150
| 1 | PSM Series Motorized Slide Potentiometer | Bourns Inc. | PSM01-082A-103B2
| 1 | DF-G3 Series Long Range Fiber Optic Amplifier | Banner Engineering | DF-G3-NU-2M
Cables/Connectors
| 1 | XH 2.5 Connector Housing 2POS | JST Sales America Inc. | XHP-2
| 1 | XH 2.5 Connector Housing 7POS | JST Sales America Inc. | XHP-7
| 5 | XH 2.5 Connector Socket 22-28AWG CRIMP | JST Sales America Inc. | SXH-001T-P0
| 1 | Rectangular Cable Assemblies Double Row Discrete Wire Assembly, 0.050 Pitch | Samtec | SFSD-07-28-G-10.00-S
| 1 | General Purpose Fiber Optic Cable, Through Beam, 6 9/16 ft Cable Length | Omron | E32-TC200A
| 10 | Mini-PV ("DuPont") Connectors (Various)
| 1 | Power Cord 12v Barrel Plug, 2.1mm I.D. x 5.5mm O.D. x 10.0mm
| 2 | DAQ Connection Cables (Typically BNO)
Hardware
| 1 | Universal Aluminum Mounting Hub for 5mm Shaft, M3 Holes | Pololu | 1998
M3 Hardware (Various)
| 1 | M4 Bolt
Materials
| 1 | Nitinol Wire .01 in Diameter
| 1 | Clear Acryllic Sheet .25 in
| 1 | Aluminum Rod 8 mm dia x 100 mm